## Governor Basin XRF Insitu Data
Table 1. Raw XRF Data for Field Samples
Reading # | Location ID | Date | Time | Method Name | Ag Concentration | Ag Error1s | Al Concentration | Al Error1s | As Concentration | As Error1s | Ba Concentration | Ba Error1s | Ca Concentration | Ca Error1s | Cd Concentration | Cd Error1s | Co Concentration | Co Error1s | Cr Concentration | Cr Error1s | Cu Concentration | Cu Error1s | Fe Concentration | Fe Error1s | K Concentration | K Error1s | Mg Concentration | Mg Error1s | Ni Concentration | Ni Error1s | Pb Concentration | Pb Error1s | Sb Concentration | Sb Error1s | Se Concentration | Se Error1s | V Concentration | V Error1s | Zn Concentration | Zn Error1s | Real Time 1 | Real Time 2 | Real Time 3
1 |  | 2024-07-30 | 12:16 | Cal Check | [36 empty] | 15
2 |  | 2024-07-30 | 12:21 | Geochem(3-Beam) | <LOD | 28 |  |  | 109 | 7 | 810 | 194 |  |  | 82 | 7 | <LOD | 115 | 66 | 13 | 134 | 5 | 23175 | 123 |  |  |  |  | 40 | 4 | 1366 | 10 | 64 | 14 | <LOD | 5 | <LOD | 147 | 430 | 7 | 20.6598
3 |  | 2024-07-30 | 12:22 | Geochem(3-Beam) | 7 | 1 | 32860 | 277 | 123 | 6 | 569 | 14 | 23598 | 80 | 68 | 5 | 56 | 18 | 114 | 13 | 142 | 4 | 28084 | 102 | 20325 | 76 | 4901 | 633 | 43 | 3 | 1413 | 8 | 43 | 10 | <LOD | 4 | 81 | 26 | 468 | 5 | 30 | 30 | 30
4 |  | 2024-07-30 | 12:28 | Geochem(3-Beam) | 31 | 2 | 53121 | 306 | 750 | 12 | 511 | 16 | 12701 | 49 | 24 | 5 | <LOD | 89 | 71 | 13 | 3260 | 17 | 34722 | 114 | 21718 | 76 | 7018 | 536 | 29 | 3 | 5276 | 19 | 46 | 10 | <LOD | 5 | <LOD | 103 | 7314 | 27 | 30 | 30 | 30
5 |  | 2024-07-30 | 12:34 | Geochem(3-Beam) | <LOD | 78 | 36736 | 295 | 22 | 1 | 510 | 13 | 17513 | 64 | <LOD | 25 | 94 | 20 | 137 | 14 | 48 | 3 | 35379 | 125 | 15699 | 65 | 5918 | 666 | 110 | 4 | 26 | 1 | <LOD | 47 | <LOD | 3 | <LOD | 123 | 123 | 3 | 30 | 30 | 30
6 |  | 2024-07-30 | 12:53 | Geochem(3-Beam) | <LOD | 578 | 5310 | 1099 | <LOD | 18 | <LOD | 4811 | 2043 | 107 | <LOD | 64 | 62 | 18 | <LOD | 199 | 70 | 11 | 668 | 38 | <LOD | 39451 | <LOD | 284861 | 70 | 10 | 31 | 4 | 86 | 23 | <LOD | 14 | <LOD | 310 | 273 | 11 | 30 | 30 | 25.176
7 | R1 | 2024-07-30 | 14:42 | Geochem(3-Beam) | 20 | 1 | 2893 | 165 | 418 | 7 | 308 | 10 | 2953 | 25 | <LOD | 23 | <LOD | 93 | 37 | 10 | 105 | 4 | 27321 | 113 | 8439 | 47 | 4451 | 917 | 15 | 3 | 1644 | 9 | 97 | 10 | <LOD | 4 | 86 | 20 | 1077 | 8 | 30 | 30 | 30
8 | R2 | 2024-07-30 | 14:44 | Geochem(3-Beam) | 22 | 1 | 6369 | 177 | 522 | 7 | 476 | 12 | 1973 | 20 | <LOD | 22 | <LOD | 94 | 48 | 10 | 149 | 4 | 32021 | 114 | 14229 | 58 | <LOD | 8121 | 17 | 3 | 2214 | 10 | 127 | 10 | <LOD | 4 | <LOD | 113 | 840 | 7 | 30 | 30 | 30
9 | R3 | 2024-07-30 | 14:47 | Geochem(3-Beam) | 25 | 1 | 2730 | 243 | 488 | 11 | 228 | 9 | 1448 | 28 | <LOD | 31 | <LOD | 129 | 68 | 15 | 222 | 7 | 29497 | 156 | 7825 | 62 | <LOD | 28378 | 26 | 4 | 2867 | 18 | 276 | 16 | <LOD | 6 | <LOD | 165 | 1396 | 13 | 30 | 30 | 30
10 | R4 | 2024-07-30 | 14:49 | Geochem(3-Beam) | 63 | 2 | 7872 | 220 | 1045 | 11 | 464 | 13 | 1837 | 25 | <LOD | 24 | <LOD | 111 | 63 | 12 | 205 | 5 | 35141 | 153 | 15774 | 78 | 4143 | 932 | 16 | 3 | 3041 | 16 | 281 | 12 | <LOD | 5 | <LOD | 130 | 1101 | 9 | 30 | 30 | 30
11 | R5 | 2024-07-30 | 14:51 | Geochem(3-Beam) | 21 | 1 | 6024 | 168 | 767 | 7 | 574 | 13 | 2119 | 20 | <LOD | 20 | <LOD | 101 | 42 | 10 | 80 | 3 | 38851 | 138 | 14202 | 59 | 2959 | 661 | 20 | 3 | 1689 | 9 | 76 | 9 | <LOD | 4 | 98 | 20 | 615 | 6 | 30 | 30 | 30
12 | R6 | 2024-07-30 | 14:54 | Geochem(3-Beam) | 4 | 1 | 7302 | 205 | 332 | 5 | 432 | 11 | 2331 | 24 | 18 | 5 | <LOD | 96 | 58 | 11 | 74 | 4 | 28179 | 115 | 16311 | 72 | 3226 | 842 | 18 | 3 | 828 | 6 | 39 | 10 | <LOD | 4 | <LOD | 123 | 491 | 6 | 30 | 30 | 30
13 | R7 | 2024-07-30 | 14:56 | Geochem(3-Beam) | 8 | 1 | 2102 | 144 | 412 | 5 | 566 | 11 | 2203 | 22 | <LOD | 21 | <LOD | 80 | <LOD | 52 | 67 | 3 | 23353 | 90 | 7420 | 40 | 3916 | 817 | 12 | 2 | 996 | 6 | 46 | 9 | <LOD | 3 | 56 | 18 | 344 | 4 | 30 | 30 | 30
14 | R8 | 2024-07-30 | 14:58 | Geochem(3-Beam) | 27 | 1 | 7551 | 186 | 819 | 9 | 827 | 14 | 3263 | 25 | 20 | 5 | <LOD | 99 | 67 | 10 | 139 | 4 | 35289 | 132 | 15779 | 67 | 2814 | 700 | 12 | 3 | 3016 | 14 | 140 | 10 | <LOD | 4 | <LOD | 116 | 1258 | 9 | 30 | 30 | 30
15 | R9 | 2024-07-30 | 15:00 | Geochem(3-Beam) | 273 | 3 | 4929 | 157 | 2036 | 16 | 355 | 13 | 1861 | 20 | <LOD | 18 | <LOD | 97 | 43 | 10 | 456 | 6 | 38994 | 153 | 9763 | 49 | 2960 | 701 | 9 | 3 | 8141 | 34 | 545 | 12 | <LOD | 5 | <LOD | 101 | 2219 | 13 | 30 | 30 | 30
16 | R10 | 2024-07-30 | 15:07 | Geochem(3-Beam) | <LOD | 123 | 4762 | 372 | 50 | 4 | 261 | 7 | 8075 | 71 | <LOD | 46 | 97 | 30 | 90 | 22 | 43 | 7 | 31663 | 208 | 12313 | 106 | <LOD | 26243 | 34 | 6 | 226 | 5 | 70 | 19 | <LOD | 7 | 151 | 45 | 184 | 7 | 30 | 30 | 30
17 | R11 | 2024-07-30 | 15:10 | Geochem(3-Beam) | <LOD | 150 | 10160 | 235 | 69 | 3 | 357 | 15 | 9540 | 50 | <LOD | 27 | 102 | 21 | 59 | 13 | 27 | 4 | 34472 | 152 | 11139 | 62 | 3441 | 972 | 27 | 3 | 238 | 3 | <LOD | 52 | <LOD | 4 | <LOD | 147 | 234 | 5 | 30 | 30 | 11.312
18 | R12 | 2024-07-30 | 15:13 | Geochem(3-Beam) | 3 | 1 | 6657 | 176 | 41 | 2 | 710 | 13 | 10508 | 45 | 19 | 5 | 84 | 18 | 44 | 11 | 19 | 3 | 34752 | 128 | 12063 | 54 | 2608 | 700 | 21 | 3 | 155 | 2 | <LOD | 44 | <LOD | 3 | 69 | 22 | 186 | 3 | 30 | 30 | 30
19 |  | 2024-07-30 | 15:20 | Geochem(3-Beam) | <LOD | 72 |  |  | 166 | 15 | <LOD | 7359 |  |  | <LOD | 80 | <LOD | 389 | <LOD | 211 | 99 | 12 | 35947 | 496 |  |  |  |  | <LOD | 41 | 627 | 17 | 129 | 37 | <LOD | 11 | <LOD | 441 | 410 | 17 | 2.1424
20 | R13 | 2024-07-30 | 15:20 | Geochem(3-Beam) | 9 | 1 | 5676 | 179 | 195 | 4 | 452 | 11 | 2246 | 22 | <LOD | 23 | 85 | 19 | 43 | 10 | 67 | 3 | 39082 | 148 | 11617 | 55 | 2347 | 773 | 19 | 3 | 573 | 5 | 44 | 10 | <LOD | 3 | 134 | 21 | 409 | 5 | 30 | 30 | 30
21 | R14 | 2024-07-30 | 15:23 | Geochem(3-Beam) | <LOD | 77 | 7324 | 201 | 87 | 3 | 439 | 11 | 3178 | 26 | 18 | 5 | <LOD | 110 | 53 | 11 | 46 | 3 | 35511 | 142 | 12637 | 61 | 3755 | 851 | 26 | 3 | 293 | 3 | <LOD | 47 | <LOD | 3 | 102 | 23 | 319 | 5 | 30 | 30 | 30
22 | R15 | 2024-07-30 | 15:26 | Geochem(3-Beam) | <LOD | 67 | 11491 | 216 | 76 | 2 | 675 | 13 | 4439 | 29 | 19 | 5 | 83 | 19 | 44 | 11 | 25 | 3 | 36209 | 135 | 18245 | 75 | 3903 | 741 | 19 | 3 | 178 | 3 | <LOD | 45 | <LOD | 3 | 113 | 23 | 211 | 4 | 30 | 30 | 30
23 | Parking Lot Upland 1 | 2024-07-30 | 15:35 | Geochem(3-Beam) | 19 | 1 | 9441 | 251 | 583 | 10 | 140 | 8 | 12765 | 68 | <LOD | 26 | <LOD | 94 | <LOD | 66 | 238 | 6 | 20116 | 105 | 7978 | 57 | 4191 | 1163 | 19 | 3 | 3138 | 17 | 87 | 11 | <LOD | 6 | <LOD | 124 | 1780 | 13 | 30 | 30 | 30
24 | Parking Lot Upland 2 | 2024-07-30 | 15:40 | Geochem(3-Beam) | 33 | 1 | 4156 | 202 | 779 | 12 | 157 | 8 | 5620 | 37 | <LOD | 24 | <LOD | 103 | <LOD | 65 | 265 | 6 | 26970 | 122 | 8584 | 54 | <LOD | 14384 | 19 | 3 | 4439 | 22 | 177 | 12 | <LOD | 6 | <LOD | 122 | 1684 | 12 | 30 | 30 | 30
25 | Parking Lot Upland 3 | 2024-07-30 | 15:42 | Geochem(3-Beam) | 16 | 1 | 4390 | 256 | 613 | 13 | 88 | 6 | 7558 | 55 | <LOD | 29 | <LOD | 103 | <LOD | 75 | 347 | 7 | 19029 | 117 | 7271 | 63 | 5971 | 1524 | 21 | 4 | 3895 | 24 | 127 | 13 | <LOD | 7 | <LOD | 134 | 2635 | 20 | 30 | 30 | 30
26 | Parking Lot Upland 4 | 2024-07-30 | 15:44 | Geochem(3-Beam) | 12 | 1 | 4853 | 216 | 676 | 10 | 95 | 6 | 7070 | 45 | <LOD | 24 | <LOD | 92 | <LOD | 64 | 263 | 6 | 20166 | 103 | 7967 | 56 | 4106 | 1152 | 20 | 3 | 3206 | 18 | 72 | 10 | <LOD | 6 | <LOD | 116 | 2116 | 14 | 30 | 30 | 30
27 | Parking Lot Upland 5 | 2024-07-30 | 15:47 | Geochem(3-Beam) | 7 | 1 | 4459 | 300 | 491 | 12 | 37 | 4 | 9863 | 68 | <LOD | 32 | <LOD | 108 | <LOD | 89 | 232 | 7 | 16459 | 106 | 4810 | 61 | <LOD | 20674 | 27 | 4 | 3120 | 21 | 41 | 13 | <LOD | 8 | <LOD | 155 | 2128 | 18 | 30 | 30 | 30
28 | P1 | 2024-07-30 | 15:52 | Geochem(3-Beam) | 154 | 3 | 5223 | 174 | 1244 | 15 | 408 | 13 | 1458 | 21 | <LOD | 20 | <LOD | 109 | 61 | 10 | 595 | 8 | 45087 | 183 | 11262 | 58 | 2367 | 779 | 14 | 3 | 6921 | 31 | 477 | 13 | <LOD | 5 | 93 | 20 | 1230 | 10 | 30 | 30 | 30
29 | P2 | 2024-07-30 | 15:54 | Geochem(3-Beam) | 98 | 2 | 5502 | 184 | 780 | 14 | 192 | 11 | 1262 | 22 | 18 | 6 | <LOD | 99 | <LOD | 56 | 540 | 7 | 34240 | 146 | 11234 | 59 | 3471 | 844 | 17 | 3 | 6908 | 31 | 276 | 12 | <LOD | 6 | 123 | 21 | 1198 | 9 | 30 | 30 | 30
30 | P3 | 2024-07-30 | 15:56 | Geochem(3-Beam) | 113 | 2 | 5847 | 154 | 656 | 10 | 241 | 11 | 1090 | 17 | 30 | 5 | <LOD | 83 | 28 | 8 | 329 | 5 | 29755 | 108 | 9525 | 44 | 2528 | 621 | 11 | 2 | 4518 | 18 | 327 | 10 | <LOD | 4 | 91 | 17 | 5513 | 23 | 30 | 30 | 30
31 | P4 | 2024-07-30 | 15:58 | Geochem(3-Beam) | 136 | 3 | 8640 | 190 | 1148 | 13 | 432 | 14 | 1606 | 21 | 21 | 6 | <LOD | 92 | 37 | 10 | 492 | 6 | 32310 | 122 | 15604 | 67 | <LOD | 5998 | 19 | 3 | 6389 | 26 | 407 | 11 | <LOD | 5 | 133 | 21 | 3628 | 18 | 30 | 30 | 30
32 | P5 | 2024-07-30 | 16:00 | Geochem(3-Beam) | 121 | 2 | 7243 | 176 | 1047 | 13 | 430 | 13 | 1428 | 20 | 20 | 6 | <LOD | 91 | 44 | 10 | 757 | 8 | 33889 | 126 | 11736 | 54 | <LOD | 8212 | 14 | 3 | 6688 | 26 | 426 | 11 | <LOD | 5 | 67 | 19 | 1447 | 10 | 30 | 30 | 30
33 | P6 | 2024-07-30 | 16:03 | Geochem(3-Beam) | 60 | 2 | 7741 | 192 | 662 | 11 | 449 | 12 | 1514 | 21 | <LOD | 21 | <LOD | 101 | 48 | 10 | 298 | 5 | 35500 | 140 | 14776 | 67 | 2418 | 752 | 20 | 3 | 4635 | 21 | 257 | 11 | <LOD | 5 | 77 | 21 | 907 | 8 | 30 | 30 | 30
34 | P7 | 2024-07-30 | 16:05 | Geochem(3-Beam) | 62 | 2 | 9068 | 184 | 360 | 7 | 298 | 11 | 1384 | 19 | 21 | 5 | <LOD | 88 | 52 | 10 | 196 | 4 | 29444 | 104 | 11564 | 50 | <LOD | 7701 | 13 | 2 | 2615 | 11 | 164 | 10 | <LOD | 4 | 61 | 20 | 660 | 6 | 30 | 30 | 30
35 | P8 | 2024-07-30 | 16:07 | Geochem(3-Beam) | 67 | 2 | 5037 | 186 | 1509 | 15 | 293 | 10 | 1577 | 23 | <LOD | 22 | <LOD | 100 | <LOD | 59 | 356 | 6 | 31722 | 142 | 9759 | 56 | 3539 | 902 | 15 | 3 | 6300 | 30 | 451 | 13 | <LOD | 6 | <LOD | 114 | 1948 | 13 | 30 | 30 | 30
36 | P9 | 2024-07-30 | 16:09 | Geochem(3-Beam) | 55 | 2 | 8330 | 183 | 741 | 9 | 461 | 12 | 1217 | 18 | <LOD | 21 | <LOD | 93 | 46 | 10 | 231 | 5 | 31709 | 114 | 12179 | 53 | <LOD | 8494 | 13 | 2 | 2935 | 13 | 168 | 10 | <LOD | 4 | 80 | 20 | 1353 | 9 | 30 | 30 | 30
37 | P10 | 2024-07-30 | 16:11 | Geochem(3-Beam) | 178 | 3 | 7384 | 158 | 1331 | 14 | 426 | 14 | 883 | 16 | <LOD | 17 | <LOD | 86 | 42 | 9 | 649 | 7 | 36705 | 133 | 9737 | 45 | 3110 | 594 | 10 | 2 | 8231 | 31 | 493 | 11 | <LOD | 5 | 121 | 18 | 1590 | 10 | 30 | 30 | 30
38 | P11 | 2024-07-30 | 16:13 | Geochem(3-Beam) | 133 | 3 | 5939 | 157 | 1367 | 15 | 379 | 12 | 1028 | 17 | 20 | 6 | <LOD | 97 | 47 | 9 | 658 | 7 | 43946 | 162 | 9586 | 46 | <LOD | 7701 | 15 | 3 | 8739 | 35 | 604 | 12 | <LOD | 5 | 99 | 18 | 2671 | 15 | 30 | 30 | 30
39 | P12 | 2024-07-30 | 16:15 | Geochem(3-Beam) | 62 | 4 | 9233 | 336 | 597 | 7 | 506 | 122 | 1202 | 30 | 16 | 4 | <LOD | 77 | 40 | 8 | 428 | 5 | 28858 | 93 | 13364 | 75 | <LOD | 12500 | 16 | 2 | 2849 | 11 | 120 | 8 | <LOD | 4 | 89 | 17 | 1386 | 8 | 30 | 6.772
40 | P12 | 2024-07-30 | 16:16 | Geochem(3-Beam) | 38 | 1 | 8319 | 167 | 538 | 8 | 480 | 13 | 1214 | 17 | 16 | 5 | <LOD | 82 | 50 | 9 | 405 | 5 | 29681 | 101 | 14621 | 56 | 2237 | 562 | 15 | 2 | 2908 | 12 | 137 | 9 | <LOD | 4 | 82 | 18 | 1182 | 8 | 30 | 30 | 30
41 | P13 | 2024-07-30 | 16:19 | Geochem(3-Beam) | 169 | 3 | 9129 | 197 | 979 | 15 | 346 | 14 | 1809 | 23 | <LOD | 19 | <LOD | 112 | 42 | 10 | 588 | 8 | 51924 | 203 | 15184 | 71 | 3538 | 717 | 14 | 3 | 7745 | 34 | 476 | 13 | <LOD | 5 | 111 | 20 | 2470 | 15 | 30 | 30 | 30
42 | P14 | 2024-07-30 | 16:21 | Geochem(3-Beam) | 70 | 2 | 13073 | 195 | 925 | 10 | 432 | 13 | 1114 | 18 | 16 | 5 | <LOD | 97 | 46 | 9 | 585 | 7 | 40894 | 144 | 10958 | 49 | 3065 | 631 | 13 | 3 | 4431 | 18 | 267 | 10 | <LOD | 4 | 119 | 18 | 622 | 6 | 30 | 30 | 30
43 | P15 | 2024-07-30 | 16:23 | Geochem(3-Beam) | 87 | 2 | 12998 | 202 | 935 | 12 | 431 | 14 | 2568 | 22 | <LOD | 19 | <LOD | 92 | 57 | 10 | 613 | 7 | 34868 | 133 | 11694 | 54 | 3276 | 660 | 15 | 3 | 5777 | 24 | 370 | 11 | <LOD | 5 | 70 | 20 | 1436 | 10 | 30 | 30 | 30
Notes:
All results in mg/kg.
Data were collected using an Olympus Vanta, Serial Number 806363.
All data were collected with single in situ shots.
Reading numbers 1-6 were quality control data, including blanks and SRM.
# | number | K | Potassium
< | less than | LOD | Limit of detection
Ag | Silver | Mg | Magnesium
Al | Aluminum | mg/kg | milligram per kilogram
As | Arsenic | Ni | Nickel
Ba | Barium | Pb | Lead
Ca | Calcium | Sb | Tin
Cd | Cadmium | Se | Selenium
Co | Cobalt | SRM | Standard reference material
Cr | Chromium | V | Vanadium
Cu | Copper | XRF | X-ray fluorescence
Fe | Iron | Zn | Zinc

## Governor Basin XRF Pb and As
Table 2. Concentrations Recorded by In Situ XRF
Reading # | Location ID | Date | Time | Method Name | Mg Concentration | Mg Error1s | Al Concentration | Al Error1s | K Concentration | K Error1s | Ca Concentration | Ca Error1s | V Concentration | V Error1s | Cr Concentration | Cr Error1s | Fe Concentration | Fe Error1s | Co Concentration | Co Error1s | Ni Concentration | Ni Error1s | Cu Concentration | Cu Error1s | Zn Concentration | Zn Error1s | As Concentration | As Error1s | Se Concentration | Se Error1s | Ag Concentration | Ag Error1s | Cd Concentration | Cd Error1s | Sb Concentration | Sb Error1s | Ba Concentration | Ba Error1s | Pb Concentration | Pb Error1s | Real Time 1 | Real Time 2 | Real Time 3
1 |  | 2024-07-30 | 12:16 | Cal Check | [36 empty] | 15
2 |  | 2024-07-30 | 12:21 | Geochem(3-Beam) | [8 empty] | <LOD | 147 | 66 | 13 | 23175 | 123 | <LOD | 115 | 40 | 4 | 134 | 5 | 430 | 7 | 109 | 7 | <LOD | 5 | <LOD | 28 | 82 | 7 | 64 | 14 | 810 | 194 | 1366 | 10 | 20.6598
3 |  | 2024-07-30 | 12:22 | Geochem(3-Beam) | 4901 | 633 | 32860 | 277 | 20325 | 76 | 23598 | 80 | 81 | 26 | 114 | 13 | 28084 | 102 | 56 | 18 | 43 | 3 | 142 | 4 | 468 | 5 | 123 | 6 | <LOD | 4 | 7 | 1 | 68 | 5 | 43 | 10 | 569 | 14 | 1413 | 8 | 30 | 30 | 30
4 |  | 2024-07-30 | 12:28 | Geochem(3-Beam) | 7018 | 536 | 53121 | 306 | 21718 | 76 | 12701 | 49 | <LOD | 103 | 71 | 13 | 34722 | 114 | <LOD | 89 | 29 | 3 | 3260 | 17 | 7314 | 27 | 750 | 12 | <LOD | 5 | 31 | 2 | 24 | 5 | 46 | 10 | 511 | 16 | 5276 | 19 | 30 | 30 | 30
5 |  | 2024-07-30 | 12:34 | Geochem(3-Beam) | 5918 | 666 | 36736 | 295 | 15699 | 65 | 17513 | 64 | <LOD | 123 | 137 | 14 | 35379 | 125 | 94 | 20 | 110 | 4 | 48 | 3 | 123 | 3 | 22 | 1 | <LOD | 3 | <LOD | 78 | <LOD | 25 | <LOD | 47 | 510 | 13 | 26 | 1 | 30 | 30 | 30
6 |  | 2024-07-30 | 12:53 | Geochem(3-Beam) | <LOD | 284861 | 5310 | 1099 | <LOD | 39451 | 2043 | 107 | <LOD | 310 | <LOD | 199 | 668 | 38 | 62 | 18 | 70 | 10 | 70 | 11 | 273 | 11 | <LOD | 18 | <LOD | 14 | <LOD | 578 | <LOD | 64 | 86 | 23 | <LOD | 4811 | 31 | 4 | 30 | 30 | 25.176
7 | R1 | 2024-07-30 | 14:42 | Geochem(3-Beam) | 4451 | 917 | 2893 | 165 | 8439 | 47 | 2953 | 25 | 86 | 20 | 37 | 10 | 27321 | 113 | <LOD | 93 | 15 | 3 | 105 | 4 | 1077 | 8 | 418 | 7 | <LOD | 4 | 20 | 1 | <LOD | 23 | 97 | 10 | 308 | 10 | 1644 | 9 | 30 | 30 | 30
8 | R2 | 2024-07-30 | 14:44 | Geochem(3-Beam) | <LOD | 8121 | 6369 | 177 | 14229 | 58 | 1973 | 20 | <LOD | 113 | 48 | 10 | 32021 | 114 | <LOD | 94 | 17 | 3 | 149 | 4 | 840 | 7 | 522 | 7 | <LOD | 4 | 22 | 1 | <LOD | 22 | 127 | 10 | 476 | 12 | 2214 | 10 | 30 | 30 | 30
9 | R3 | 2024-07-30 | 14:47 | Geochem(3-Beam) | <LOD | 28378 | 2730 | 243 | 7825 | 62 | 1448 | 28 | <LOD | 165 | 68 | 15 | 29497 | 156 | <LOD | 129 | 26 | 4 | 222 | 7 | 1396 | 13 | 488 | 11 | <LOD | 6 | 25 | 1 | <LOD | 31 | 276 | 16 | 228 | 9 | 2867 | 18 | 30 | 30 | 30
10 | R4 | 2024-07-30 | 14:49 | Geochem(3-Beam) | 4143 | 932 | 7872 | 220 | 15774 | 78 | 1837 | 25 | <LOD | 130 | 63 | 12 | 35141 | 153 | <LOD | 111 | 16 | 3 | 205 | 5 | 1101 | 9 | 1045 | 11 | <LOD | 5 | 63 | 2 | <LOD | 24 | 281 | 12 | 464 | 13 | 3041 | 16 | 30 | 30 | 30
11 | R5 | 2024-07-30 | 14:51 | Geochem(3-Beam) | 2959 | 661 | 6024 | 168 | 14202 | 59 | 2119 | 20 | 98 | 20 | 42 | 10 | 38851 | 138 | <LOD | 101 | 20 | 3 | 80 | 3 | 615 | 6 | 767 | 7 | <LOD | 4 | 21 | 1 | <LOD | 20 | 76 | 9 | 574 | 13 | 1689 | 9 | 30 | 30 | 30
12 | R6 | 2024-07-30 | 14:54 | Geochem(3-Beam) | 3226 | 842 | 7302 | 205 | 16311 | 72 | 2331 | 24 | <LOD | 123 | 58 | 11 | 28179 | 115 | <LOD | 96 | 18 | 3 | 74 | 4 | 491 | 6 | 332 | 5 | <LOD | 4 | 4 | 1 | 18 | 5 | 39 | 10 | 432 | 11 | 828 | 6 | 30 | 30 | 30
13 | R7 | 2024-07-30 | 14:56 | Geochem(3-Beam) | 3916 | 817 | 2102 | 144 | 7420 | 40 | 2203 | 22 | 56 | 18 | <LOD | 52 | 23353 | 90 | <LOD | 80 | 12 | 2 | 67 | 3 | 344 | 4 | 412 | 5 | <LOD | 3 | 8 | 1 | <LOD | 21 | 46 | 9 | 566 | 11 | 996 | 6 | 30 | 30 | 30
14 | R8 | 2024-07-30 | 14:58 | Geochem(3-Beam) | 2814 | 700 | 7551 | 186 | 15779 | 67 | 3263 | 25 | <LOD | 116 | 67 | 10 | 35289 | 132 | <LOD | 99 | 12 | 3 | 139 | 4 | 1258 | 9 | 819 | 9 | <LOD | 4 | 27 | 1 | 20 | 5 | 140 | 10 | 827 | 14 | 3016 | 14 | 30 | 30 | 30
15 | R9 | 2024-07-30 | 15:00 | Geochem(3-Beam) | 2960 | 701 | 4929 | 157 | 9763 | 49 | 1861 | 20 | <LOD | 101 | 43 | 10 | 38994 | 153 | <LOD | 97 | 9 | 3 | 456 | 6 | 2219 | 13 | 2036 | 16 | <LOD | 5 | 273 | 3 | <LOD | 18 | 545 | 12 | 355 | 13 | 8141 | 34 | 30 | 30 | 30
16 | R10 | 2024-07-30 | 15:07 | Geochem(3-Beam) | <LOD | 26243 | 4762 | 372 | 12313 | 106 | 8075 | 71 | 151 | 45 | 90 | 22 | 31663 | 208 | 97 | 30 | 34 | 6 | 43 | 7 | 184 | 7 | 50 | 4 | <LOD | 7 | <LOD | 123 | <LOD | 46 | 70 | 19 | 261 | 7 | 226 | 5 | 30 | 30 | 30
17 | R11 | 2024-07-30 | 15:10 | Geochem(3-Beam) | 3441 | 972 | 10160 | 235 | 11139 | 62 | 9540 | 50 | <LOD | 147 | 59 | 13 | 34472 | 152 | 102 | 21 | 27 | 3 | 27 | 4 | 234 | 5 | 69 | 3 | <LOD | 4 | <LOD | 150 | <LOD | 27 | <LOD | 52 | 357 | 15 | 238 | 3 | 30 | 30 | 11.312
18 | R12 | 2024-07-30 | 15:13 | Geochem(3-Beam) | 2608 | 700 | 6657 | 176 | 12063 | 54 | 10508 | 45 | 69 | 22 | 44 | 11 | 34752 | 128 | 84 | 18 | 21 | 3 | 19 | 3 | 186 | 3 | 41 | 2 | <LOD | 3 | 3 | 1 | 19 | 5 | <LOD | 44 | 710 | 13 | 155 | 2 | 30 | 30 | 30
19 |  | 2024-07-30 | 15:20 | Geochem(3-Beam) | [8 empty] | <LOD | 441 | <LOD | 211 | 35947 | 496 | <LOD | 389 | <LOD | 41 | 99 | 12 | 410 | 17 | 166 | 15 | <LOD | 11 | <LOD | 72 | <LOD | 80 | 129 | 37 | <LOD | 7359 | 627 | 17 | 2.1424
20 | R13 | 2024-07-30 | 15:20 | Geochem(3-Beam) | 2347 | 773 | 5676 | 179 | 11617 | 55 | 2246 | 22 | 134 | 21 | 43 | 10 | 39082 | 148 | 85 | 19 | 19 | 3 | 67 | 3 | 409 | 5 | 195 | 4 | <LOD | 3 | 9 | 1 | <LOD | 23 | 44 | 10 | 452 | 11 | 573 | 5 | 30 | 30 | 30
21 | R14 | 2024-07-30 | 15:23 | Geochem(3-Beam) | 3755 | 851 | 7324 | 201 | 12637 | 61 | 3178 | 26 | 102 | 23 | 53 | 11 | 35511 | 142 | <LOD | 110 | 26 | 3 | 46 | 3 | 319 | 5 | 87 | 3 | <LOD | 3 | <LOD | 77 | 18 | 5 | <LOD | 47 | 439 | 11 | 293 | 3 | 30 | 30 | 30
22 | R15 | 2024-07-30 | 15:26 | Geochem(3-Beam) | 3903 | 741 | 11491 | 216 | 18245 | 75 | 4439 | 29 | 113 | 23 | 44 | 11 | 36209 | 135 | 83 | 19 | 19 | 3 | 25 | 3 | 211 | 4 | 76 | 2 | <LOD | 3 | <LOD | 67 | 19 | 5 | <LOD | 45 | 675 | 13 | 178 | 3 | 30 | 30 | 30
23 | Parking Lot Upland 1 | 2024-07-30 | 15:35 | Geochem(3-Beam) | 4191 | 1163 | 9441 | 251 | 7978 | 57 | 12765 | 68 | <LOD | 124 | <LOD | 66 | 20116 | 105 | <LOD | 94 | 19 | 3 | 238 | 6 | 1780 | 13 | 583 | 10 | <LOD | 6 | 19 | 1 | <LOD | 26 | 87 | 11 | 140 | 8 | 3138 | 17 | 30 | 30 | 30
24 | Parking Lot Upland 2 | 2024-07-30 | 15:40 | Geochem(3-Beam) | <LOD | 14384 | 4156 | 202 | 8584 | 54 | 5620 | 37 | <LOD | 122 | <LOD | 65 | 26970 | 122 | <LOD | 103 | 19 | 3 | 265 | 6 | 1684 | 12 | 779 | 12 | <LOD | 6 | 33 | 1 | <LOD | 24 | 177 | 12 | 157 | 8 | 4439 | 22 | 30 | 30 | 30
25 | Parking Lot Upland 3 | 2024-07-30 | 15:42 | Geochem(3-Beam) | 5971 | 1524 | 4390 | 256 | 7271 | 63 | 7558 | 55 | <LOD | 134 | <LOD | 75 | 19029 | 117 | <LOD | 103 | 21 | 4 | 347 | 7 | 2635 | 20 | 613 | 13 | <LOD | 7 | 16 | 1 | <LOD | 29 | 127 | 13 | 88 | 6 | 3895 | 24 | 30 | 30 | 30
26 | Parking Lot Upland 4 | 2024-07-30 | 15:44 | Geochem(3-Beam) | 4106 | 1152 | 4853 | 216 | 7967 | 56 | 7070 | 45 | <LOD | 116 | <LOD | 64 | 20166 | 103 | <LOD | 92 | 20 | 3 | 263 | 6 | 2116 | 14 | 676 | 10 | <LOD | 6 | 12 | 1 | <LOD | 24 | 72 | 10 | 95 | 6 | 3206 | 18 | 30 | 30 | 30
27 | Parking Lot Upland 5 | 2024-07-30 | 15:47 | Geochem(3-Beam) | <LOD | 20674 | 4459 | 300 | 4810 | 61 | 9863 | 68 | <LOD | 155 | <LOD | 89 | 16459 | 106 | <LOD | 108 | 27 | 4 | 232 | 7 | 2128 | 18 | 491 | 12 | <LOD | 8 | 7 | 1 | <LOD | 32 | 41 | 13 | 37 | 4 | 3120 | 21 | 30 | 30 | 30
28 | P1 | 2024-07-30 | 15:52 | Geochem(3-Beam) | 2367 | 779 | 5223 | 174 | 11262 | 58 | 1458 | 21 | 93 | 20 | 61 | 10 | 45087 | 183 | <LOD | 109 | 14 | 3 | 595 | 8 | 1230 | 10 | 1244 | 15 | <LOD | 5 | 154 | 3 | <LOD | 20 | 477 | 13 | 408 | 13 | 6921 | 31 | 30 | 30 | 30
29 | P2 | 2024-07-30 | 15:54 | Geochem(3-Beam) | 3471 | 844 | 5502 | 184 | 11234 | 59 | 1262 | 22 | 123 | 21 | <LOD | 56 | 34240 | 146 | <LOD | 99 | 17 | 3 | 540 | 7 | 1198 | 9 | 780 | 14 | <LOD | 6 | 98 | 2 | 18 | 6 | 276 | 12 | 192 | 11 | 6908 | 31 | 30 | 30 | 30
30 | P3 | 2024-07-30 | 15:56 | Geochem(3-Beam) | 2528 | 621 | 5847 | 154 | 9525 | 44 | 1090 | 17 | 91 | 17 | 28 | 8 | 29755 | 108 | <LOD | 83 | 11 | 2 | 329 | 5 | 5513 | 23 | 656 | 10 | <LOD | 4 | 113 | 2 | 30 | 5 | 327 | 10 | 241 | 11 | 4518 | 18 | 30 | 30 | 30
31 | P4 | 2024-07-30 | 15:58 | Geochem(3-Beam) | <LOD | 5998 | 8640 | 190 | 15604 | 67 | 1606 | 21 | 133 | 21 | 37 | 10 | 32310 | 122 | <LOD | 92 | 19 | 3 | 492 | 6 | 3628 | 18 | 1148 | 13 | <LOD | 5 | 136 | 3 | 21 | 6 | 407 | 11 | 432 | 14 | 6389 | 26 | 30 | 30 | 30
32 | P5 | 2024-07-30 | 16:00 | Geochem(3-Beam) | <LOD | 8212 | 7243 | 176 | 11736 | 54 | 1428 | 20 | 67 | 19 | 44 | 10 | 33889 | 126 | <LOD | 91 | 14 | 3 | 757 | 8 | 1447 | 10 | 1047 | 13 | <LOD | 5 | 121 | 2 | 20 | 6 | 426 | 11 | 430 | 13 | 6688 | 26 | 30 | 30 | 30
33 | P6 | 2024-07-30 | 16:03 | Geochem(3-Beam) | 2418 | 752 | 7741 | 192 | 14776 | 67 | 1514 | 21 | 77 | 21 | 48 | 10 | 35500 | 140 | <LOD | 101 | 20 | 3 | 298 | 5 | 907 | 8 | 662 | 11 | <LOD | 5 | 60 | 2 | <LOD | 21 | 257 | 11 | 449 | 12 | 4635 | 21 | 30 | 30 | 30
34 | P7 | 2024-07-30 | 16:05 | Geochem(3-Beam) | <LOD | 7701 | 9068 | 184 | 11564 | 50 | 1384 | 19 | 61 | 20 | 52 | 10 | 29444 | 104 | <LOD | 88 | 13 | 2 | 196 | 4 | 660 | 6 | 360 | 7 | <LOD | 4 | 62 | 2 | 21 | 5 | 164 | 10 | 298 | 11 | 2615 | 11 | 30 | 30 | 30
35 | P8 | 2024-07-30 | 16:07 | Geochem(3-Beam) | 3539 | 902 | 5037 | 186 | 9759 | 56 | 1577 | 23 | <LOD | 114 | <LOD | 59 | 31722 | 142 | <LOD | 100 | 15 | 3 | 356 | 6 | 1948 | 13 | 1509 | 15 | <LOD | 6 | 67 | 2 | <LOD | 22 | 451 | 13 | 293 | 10 | 6300 | 30 | 30 | 30 | 30
36 | P9 | 2024-07-30 | 16:09 | Geochem(3-Beam) | <LOD | 8494 | 8330 | 183 | 12179 | 53 | 1217 | 18 | 80 | 20 | 46 | 10 | 31709 | 114 | <LOD | 93 | 13 | 2 | 231 | 5 | 1353 | 9 | 741 | 9 | <LOD | 4 | 55 | 2 | <LOD | 21 | 168 | 10 | 461 | 12 | 2935 | 13 | 30 | 30 | 30
37 | P10 | 2024-07-30 | 16:11 | Geochem(3-Beam) | 3110 | 594 | 7384 | 158 | 9737 | 45 | 883 | 16 | 121 | 18 | 42 | 9 | 36705 | 133 | <LOD | 86 | 10 | 2 | 649 | 7 | 1590 | 10 | 1331 | 14 | <LOD | 5 | 178 | 3 | <LOD | 17 | 493 | 11 | 426 | 14 | 8231 | 31 | 30 | 30 | 30
38 | P11 | 2024-07-30 | 16:13 | Geochem(3-Beam) | <LOD | 7701 | 5939 | 157 | 9586 | 46 | 1028 | 17 | 99 | 18 | 47 | 9 | 43946 | 162 | <LOD | 97 | 15 | 3 | 658 | 7 | 2671 | 15 | 1367 | 15 | <LOD | 5 | 133 | 3 | 20 | 6 | 604 | 12 | 379 | 12 | 8739 | 35 | 30 | 30 | 30
39 | P12 | 2024-07-30 | 16:15 | Geochem(3-Beam) | <LOD | 12500 | 9233 | 336 | 13364 | 75 | 1202 | 30 | 89 | 17 | 40 | 8 | 28858 | 93 | <LOD | 77 | 16 | 2 | 428 | 5 | 1386 | 8 | 597 | 7 | <LOD | 4 | 62 | 4 | 16 | 4 | 120 | 8 | 506 | 122 | 2849 | 11 | 30 | 6.772
40 | P12 | 2024-07-30 | 16:16 | Geochem(3-Beam) | 2237 | 562 | 8319 | 167 | 14621 | 56 | 1214 | 17 | 82 | 18 | 50 | 9 | 29681 | 101 | <LOD | 82 | 15 | 2 | 405 | 5 | 1182 | 8 | 538 | 8 | <LOD | 4 | 38 | 1 | 16 | 5 | 137 | 9 | 480 | 13 | 2908 | 12 | 30 | 30 | 30
41 | P13 | 2024-07-30 | 16:19 | Geochem(3-Beam) | 3538 | 717 | 9129 | 197 | 15184 | 71 | 1809 | 23 | 111 | 20 | 42 | 10 | 51924 | 203 | <LOD | 112 | 14 | 3 | 588 | 8 | 2470 | 15 | 979 | 15 | <LOD | 5 | 169 | 3 | <LOD | 19 | 476 | 13 | 346 | 14 | 7745 | 34 | 30 | 30 | 30
42 | P14 | 2024-07-30 | 16:21 | Geochem(3-Beam) | 3065 | 631 | 13073 | 195 | 10958 | 49 | 1114 | 18 | 119 | 18 | 46 | 9 | 40894 | 144 | <LOD | 97 | 13 | 3 | 585 | 7 | 622 | 6 | 925 | 10 | <LOD | 4 | 70 | 2 | 16 | 5 | 267 | 10 | 432 | 13 | 4431 | 18 | 30 | 30 | 30
43 | P15 | 2024-07-30 | 16:23 | Geochem(3-Beam) | 3276 | 660 | 12998 | 202 | 11694 | 54 | 2568 | 22 | 70 | 20 | 57 | 10 | 34868 | 133 | <LOD | 92 | 15 | 3 | 613 | 7 | 1436 | 10 | 935 | 12 | <LOD | 5 | 87 | 2 | <LOD | 19 | 370 | 11 | 431 | 14 | 5777 | 24 | 30 | 30 | 30
Notes:
All results in mg/kg.
Data were collected using an Olympus Vanta, Serial Number 806363.
All data were collected with single in-situ shots.
Reading numbers 1-6 were quality control data, including blanks and SRM.
# | number
As | Arsenic
mg/kg | milligram per kilogram
Pb | Lead
SRM | Standard reference material
XRF | X-ray fluorescence