ATTACHMENT A:  Photographic Documentation

FIFTH WARD/KASHMERE GARDENS UPRR SITE
REMOVAL SITE EVALUATION
May 12, 2026
[bookmark: _Hlk177634524]1. Site Conditions:
A. Today’s Weather
Partly cloudy. Low 67° Fahrenheit (°F); High: 86°F. Wind from the northeast at 7-10 miles per hour (mph), humidity 57%. 
2. Site Activities:
A. PRP Contractor Activities: 
a. Site Progress:
· Conducted plumbing inspections at two (2) properties along Liberty Road between Cushing Street and Solo Street. 
· The licensed plumber determined that both properties have correctly installed plumbing and that the vent systems are functioning as intended.
b. Problems Encountered:
No problems encountered. 
c. Anticipated Problems/Recommended Solutions:
[bookmark: _Hlk169269411]No problems are anticipated.
d. Health and Safety Problems/Recommended Solutions:
No problems encountered.
B. START Activities:
a. Site Progress:
· Conducted oversight/documentation of site activities. 
b. Problems Encountered:
No problems encountered. 
c. Anticipated Problems/Recommended Solutions:
No problems anticipated.
d. Health and Safety Problems/Recommended Solutions:
No problems encountered. 



3. Future Activities:
A. PRP Contractor   
· Continue to conduct plumbing inspections. 
B. START:
· Continue to provide technical assistance, conduct oversight and documentation of site activities.
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Licensed plumber conducting sewer line inspection.
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Plumber conducting test of bathroom sink and drain. 
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Standard kitchen sink plumbing. 

[bookmark: _Hlk196692879][image: ]
Standard bathroom sink plumbing with AC drain line.
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